## Slide 1
Data Center Environmental Monitoring
Nithin · X25125338
An overheating server, a humidity swing toward condensation, or restricted airflow around a rack can each trigger a costly unplanned outage — and fixed rounds see them only after the fact.
Hall temp > 27 °C
Humidity > 60%
Airflow < 400 CFM
Fog & Edge Computing (H9FECC) · deployed live on AWS

## Slide 2
What I Built — Halls to Cloud
EDGE
Hall sensors
10 · 2 halls · 5 metrics
Fog node
windows · edge alerts
CLOUD (serverless)
Amazon SQS
window summaries
AWS Lambda
ingest function
DynamoDB
readings store
API GW + S3
live dashboard
Alerts fire at the edge, so only compact window summaries ever cross into the cloud; a second Lambda serves the dashboard API.

## Slide 3
Live Demo
dce-frontend-373241496019.s3.us-east-1.amazonaws.com
1
Two halls, five environment metrics
Temperature, humidity, airflow, and rack conditions live for both server halls, each window checked as it closes.
2
Threshold rules on every closed window
An overheat above 27 C, condensation-risk humidity above 60%, or airflow below 400 CFM raises the instant that window closes.
3
Live per-hall readings
Both halls report side by side, so an overheating rack or a humidity swing is caught in seconds, not at the next round.
Switch to the live dashboard here — backup video ready.

## Slide 4
Hardest Part — a fault only real AWS revealed
Problem
Whenever the AWS access-key environment variable existed, three files swapped in hardcoded emulator credentials — and real Lambda and EC2 inject that exact variable automatically. So genuine session credentials were thrown away and every DynamoDB and SQS call would have failed authentication. Locally the condition happened to be correct, so all 114 tests and the LocalStack run passed; the emulator cannot reproduce the trigger at all.
Solution
Gate the emulator credentials on a signal unique to local development — the explicit LocalStack endpoint override — applied across all three files, each with its own code shape, then redeployed and verified live with an end-to-end DynamoDB write and SQS receive. The same real-cloud testing also caught a pagination undercount, fixed with two new tests.